## Sheet1
BOQ for High Rangeability Control Valve
S.No. | High Rangeability Control Valve | Qty
1 | Supply, Installation, Testing & Commissioning of 2 way, balanced, high-rangeability, globe type modulating control valves with linear stroke motorised actuators operating on 0-10Vdc, 4-20mA control signal, to suit following flow rates/pipe sizes.
2 | Controller
Option - I
Digital Electronic controller with provision for space temperature sensor and coil water inlet and outlet water temperature sensors inputs and 0-10Vdc output.
Option - II
Digital Electronic controller with a 0-10Vdc input from BMS sensor and coil water inlet and outlet water temperature sensor input and 0-10Vdc output.